## Newtonus.Calculator.T Head.Pipe
Project |  |  | : | - | [19 empty] | Calculator for "Pump Total Head/Power, Cavitation Analisys & Piping Design" (Hazen W.)
Name |  |  | : | - | [19 empty] | By : Ir. MA. Budiman, Hp. 087770678615, mochalibudiman@gmail.com, R230501
Dated |  |  | : | 2023-06-02 18:42 | [19 empty] | Guidance of calculator, see to Youtube NEWTONUS PUMP "Training part 15" | [24 empty] | 1000 | Psi | 703 | M (H2O)
[16 empty] | Data input |  | AL1
[16 empty] | Selection input | [12 empty] | Pipe-1 |  | Pipe-2 |  | Pipe-3 |  | Result
[24 empty] | Flow rate (Q) |  |  | % | : | 100% |  | 0% |  | 0%
:
[24 empty] | Flow rate (Q) |  | M3/hr |  | : | 5 |  | 0 |  | 0
[16 empty] | Check & Warning | [7 empty] | Flow rate (Q) m3/jam |  |  |  | : | 5 |  | 0 |  | 0 |  | Flow rate (Q) |  | : | 5 | m3/hr
[16 empty] | Data base | [7 empty] | Discharge/ outlet pipe |  |  |  | : | Ld1 |  | Ld2 |  | Ld3 |  | Tot. head (H) |  | : | 19.4 | mtr |  |  | 25 | 32
[16 empty] | Check & Warning | [7 empty] | Lenght : Ld1-Ld2-Ld3 |  |  | mtr | : | 10 |  | 0 |  | 0 | [9 empty] | #VALUE! | [7 empty] | pascal | Psi | M (H2O) | Bar
Calculation result
[24 empty] | Flow rate (Q) |  | M3/hr |  | : | 5 |  | 0 |  | 0
How many the series outlet pipe | [13 empty] | Vapour press : |  |  |  | 0.43258 | mtr |  |  |  |  | Flow rate (Q %) Qd1 |  |  |  | : | 100% | Qd2 : | 0% | Qd3 : | 0% |  | Input, Pump Type |  | : | [5 empty] | #VALUE! | [5 empty] | 1 | Bar | 100000 | 14.504 | 10.197 | 1 |  |  | pipe1 | pipe2 | pipe3
with different diameter is used ? | [13 empty] | Water temp. : |  |  |  | 30 | o C |  | █ | IIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIII Ld1 IIIIIII | [12 empty] | Input, NPSHr |  | : | 3 | mtr |  |  |  |  | M3/hr |  |  |  |  | 1 | Pascal | 1 | 0.000145 | 0.000102 | 1e-05 |  |  | 10 | 0 | 0
1 outlet pipe : Ld1 | [17 empty] | 1.3889 |  |  | IIIIIIIIIIIIIIIIIIIIIIIIIIII Ld1 IIIIIIIIIIIIIIIIIIIIIIIIIIIIIII |  | ----------I | [5 empty] | Hd █ | [5 empty] | Input, Pump Eff. |  | : | 70 | % |  |  |  |  | 5 | 0 |  |  |  | 1 | Psi | 6894.76 | 1 | 0.703 | 0.069
SUCTION PIPE | [13 empty] | Flow rate/ Q : |  |  |  | 5 | M3/hr |  |  |  |  | Hd, Discharge Head, |  |  | mtr | : | 5 | [14 empty] | m3/hr | 1.3889 | Lps | 5 | m3/hr | 1 | M (H2O) | 9806.3 | 1.422 | 1 | 0.098
Select of piping configuration |  |  |  | 1 | [19 empty] | (Pressure at the end of outlet pipe) | [10 empty] | P2, pump power |  | : | 0.37722 | kW |  |  |  |  | Lpm
No.1: Negatif suction /w positif discharge | [22 empty] | Hg | Hg, Geodetic Head |  |  | mtr | : | 10 | [5 empty] | NPSHa |  | : | 6.3546 | mtr |  |  |  |  | Lps |  |  |  |  | 703 |  | 0 | 0 | 703 | 0
Select of material pipe |  |  |  | 3 | [9 empty] | Total Head/ H : |  |  |  | 19.4 | mtr |  |  |  | I----------------------------- | Select, diameter nominal |  |  |  | : | 32 mm |  | 0 mm |  | 0 mm | [10 empty] | us gpm | [5 empty] | Bar | 0 | 0 | 0 | 0
Pilih Material Pipa (1-7) |  |  | : | 7 | [39 empty] | m3/m
Galvanized Iron |  | C | : | 116 | [9 empty] | NPSHr, pump : |  |  |  | 3 | mtr |  |  |  |  | Select, material pipe |  |  |  | : | Galvanized Iron |  | Galvanized Iron |  | Galvanized Iron | [10 empty] | m3/s | [5 empty] | Pascal | 0 | 0 | 0 | 0
Lenght of suction pipe, Ls |  | mtr | : | 5 | [9 empty] | Eff. Pump : |  |  |  | 70 | % | [9 empty] | 3 |  | 0 |  | 0 |  | NPSHa |  | : | 6.3546 | mtr |  |  |  |  | - | [5 empty] | Psi | 0 | 0 | 703 | 0
Select of nominal diameter pipe |  |  |  | 3 | [9 empty] | P2, Power : |  |  |  | 0.37722 | kW |  |  |  |  | Hazen W. Constanta ( C ) |  |  |  | : | 119 |  | 0 |  | 0 |  | NPSHr |  |  | 3 | [11 empty] | M (H2O) | 0 | 0 | 0 | 0
25 mm |  |  |  | 25 | [9 empty] | Actual P1 motor/diesel, select by | [14 empty] | 4 |  | 0 |  | 0 |  | NPSHa > NPSHr
Inner diametr suction pipe |  | mm | : | 27.3 |  |  | Pipe level | [6 empty] | Pump curve with Q & H above | [14 empty] | 32 |  | 32 |  | 32 |  | NO CAVITATION | [15 empty] | M3/hr | M3/mnt | M3/sec | Lpm | Lps | US Gpm
Input manual inner dia? (Y/T) |  |  | : | T |  |  | gound level |  |  |  |  | Ls |  |  |  | PUMP |  | Ld1 | IIIIIIIIIIIIII |  |  |  |  | Inner diameter |  |  | mm | : | 36 |  | 0 |  | 0 | [16 empty] | M3/hr | 1 | 0.016667 | 0.00027778 | 16.6667 | 0.27778 | 4.4029
If Y, Input inner dia. pipe |  | mm | : | 0 |  |  |  |  | _________________________________ |  |  | IIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIIII Ls IIIIIIIIIIIIIIIIIIIIIIII | ------ |  | ________________________________ | [8 empty] | Input inner diameter ? Y/T |  |  |  | : | T |  | T |  | T |  | Neg suction, Hs max = |  |  | 4.3546 | mtr | -4.3546 | [9 empty] | M3/mnt | 60 | 1 | 0.016667 | 1000 | 16.6667 | 264.1721
Velocity (Ideal 0.9-2 m/s) |  | m/s | : | 2.374 | [8 empty] | 1 |  |  | NO CAVITATION | [7 empty] | If Y, Input inner dia. |  |  | mm | : | 0 |  | 0 |  | 0 | [16 empty] | M3/sec | 3600 | 60 | 1 | 60000 | 1000 | 15850.32
Velocity (Ok = Ideal) |  |  | : | too high | [6 empty] | 5 |  | I------- Hs : |  |  | Neg suction, Hs max = |  |  | 4.3546 |  |  |  |  | Velocity Ideal 0.9-2 m/sec |  |  |  | : | 1.3652 |  | 0 |  | 0 | [16 empty] | Lpm | 0.06 | 0.001 | 1.6667e-05 | 1 | 0.016667 | 0.26417
Pipe Diameter (Ok = Ideal) |  |  | : | too small | [19 empty] | Velocity (Ok = Ideal) |  |  |  | : | OK |  | - |  | - | [16 empty] | Lps | 3.6 | 0.06 | 0.001 | 60 | 1 | 15.8503
Suction lift (Hs) |  | mtr | : | 1 | [6 empty] | LS : | [12 empty] | Dia. of pipe (Ok = Ideal) |  |  |  | : | OK |  | - |  | - | [16 empty] | US Gpm | 0.22712 | 0.0037854 | 6.309e-05 | 3.7854 | 0.06309 | 1
Vertical distance from pipe level to water level | [9 empty] | ~~~ |  |  |  | ~~~ |  | Flow/Q, length, inner Ø pipe | [7 empty] | SF,Head loss pipe, fitting |  |  |  | : | 15%
No. ball valve (k : | 0.07 | ) pcs | : | 1 | 0.07 |  |  |  |  | ~~~ |  |  | ~~~~ | ~~~ |  | L | Q % | L meter | Ø mm
No. butterfly valve (k : |  | ) pcs | : | 0 | [5 empty] | ~~~ |  |  | ~~~~ |  |  | Ls | 100% | 5 | 27.3 |  |  |  |  | No. ball valve |  |  | pcs | : | 1 | 0.07 | 0 |  | 0 |  | Material & inner dia. pipe……... | [13 empty] | 2201.434 |  | 0 | 0 | 0 | 0 | 0 | 2201.434
No. chek valve (k : |  | ) pcs | : | 0 | [5 empty] | ~~~ |  |  | ~~~~ |  |  | Ld1 | 100% | 10 | 36 |  |  |  |  | No. butterfly valve |  |  | pcs | : | 0 |  | 0 |  | 0 | [16 empty] | M3/hr | 0 | 0 | 0 | 0 | 0 | 2201.434
No. elbow 90o (k : | 0.69 | ) pcs | : | 1 | 0.69 |  |  |  |  | ~~ |  | IIII | ~~~~~~~ |  |  | Ld2 | 0% | 0 | 0 |  |  |  |  | No. check valve |  |  | pcs | : | 1 | 1.1 | 0 |  | 0 | [16 empty] | M3/mnt | 0 | 0 | 0 | 0 | 0 | 0
No. Tee (k : |  | ) pcs | : | 0 | [5 empty] | Non foot valve | [5 empty] | Ld3 | 0% | 0 | 0 |  |  |  |  | No. elbow 90o |  |  | pcs | : | 2 | 0.66 | 1 | 0.66 | 1 | 0.66 | Pipa-1, | Galv iron | : | 36 | mm | [10 empty] | M3/sec | 0 | 0 | 0 | 0 | 0 | 0
No. foot valve (k : |  | ) pcs | : | 0 | [11 empty] | 1 outlet pipe : Ld1 | [7 empty] | No. Tee |  |  | pcs | : | 0 |  | 0 |  | 0 |  | Pipa-s, | Galv iron | : | 27.3 | mm | [10 empty] | Lpm | 0 | 0 | 0 | 0 | 0 | 0
Pressure Drop-1 |  | mtr | : | 0 | [19 empty] | Pressure Drop-1 |  |  | mtr | : | 0 |  | 0 |  | 0 |  | H. Loss | Fitting Pipa-s | : | 0.21853 | mtr | [10 empty] | Lps | 0 | 0 | 0 | 0 | 0 | 0
Pressure Drop-2 |  | mtr | : | 0 | [19 empty] | Pressure Drop-2 |  |  | mtr | : | 0 |  | 0 |  | 0 |  | H. Loss | Pipa-s/100m | : | 33.8862 | mtr | 4652778.15 | 694329.7133 | [8 empty] | US Gpm | 0 | 0 | 0 | 0 | 0 | 0
Fill in inject pressure = 0 |  | mtr | : | 0 |  | Pressure convertion | [6 empty] | 1000 |  |  | Psi |  | 703 |  | M (H2O) |  |  |  | Pressure Drop-3 |  |  | mtr | : | 0 |  | 0 |  | 0 |  | H. Loss | Pipa-1/100m | : | 8.4007 | mtr | 4652778.15 | 1474424.4987
NPSHa |  | mtr | : | 6.3546 |  | Flow rate convertion | [6 empty] | 500 |  |  | M3/hr |  | 2201.434 |  | US Gpm | [28 empty] | 500 | M3/hr | 2201.434 | US Gpm
NPSHr |  | 3 |  | 6.3546
NPSHa > NPSHr | [7 empty] | Flow rate (Q) | [7 empty] | 5 |  | m3/hr | [30 empty] | 1.3889 |  | 0 | 0 | 0 | 0 | 1.3889 | 0
NO CAVITATION | [7 empty] | Tot. head (H) | [7 empty] | 19.4 |  | meter | [31 empty] | M3/hr |  |  |  |  | 1.3889
[50 empty] | M3/mnt |  |  |  |  | 0
Neg suction, Hs max = |  | 4.3546 |  | 6.3546 |  |  |  | Input, Pump Type | [41 empty] | M3/sec |  |  |  |  | 0
[8 empty] | Input, NPSHr | [7 empty] | 3 |  | meter | [31 empty] | Lpm |  |  |  |  | 0
[8 empty] | Input, Pump Eff. | [7 empty] | 70 |  | % | [31 empty] | Lps |  |  |  |  | 0
[50 empty] | US Gpm |  |  |  |  | 0
[8 empty] | P2, pump power | [7 empty] | 0.37722 |  | kW
[8 empty] | NPSHa | [7 empty] | 6.3546 |  | mtr | [30 empty] | 5 | M3/hr | 1.3889 | Lps
0%
5%
10%
15%
0
1
Discharge-3
Discharge-2
Discharge-1
Suction |  |  |  | 1
No.1: Negatif suction /w positif discharge |  |  |  | 1
No.2 : Deepweel pump /w positif disch. |  |  |  | 2
No.3 : Sewage pump /w positif discharge |  |  |  | 3
No.4 : Posiitif suction /w negatif discharge |  |  |  | 4
No.5 : Positif suction /w positif discharge |  |  |  | 5
No.6 : Negatif suction /w negatif discharge |  |  |  | 6
No.7 : Closed loop |  |  |  | 7
No.8: Positif suction w/ injection pressure |  |  |  | 8
Discharge-3 |  |  |  | 3 |  |  |  | 0 | [5 empty] | 3
Discharge-2 |  |  |  | 3 |  |  |  | 0 | [5 empty] | 3
Discharge-1 |  |  |  | 3
Suction |  |  |  | 3
Stainless steel |  |  |  | 1
Steel pipe sch. 40 |  |  |  | 2
Galvanized Iron |  |  |  | 3
Copper |  |  |  | 4
Ductil CI uncoat-K12 |  |  |  | 5
PE Class-6 |  |  |  | 6
PVC Class-15 |  |  |  | 7
- |  |  |  | 0
Discharge-3
Discharge-2
Discharge-1
Suction | [7 empty] | 3 | [7 empty] | 4 |  | 0 |  | 0
0 mm |  |  |  | 0 |  |  |  | 3 | [7 empty] | 4 |  | 0 |  | 0
15 mm |  |  |  | 1
20 mm |  |  |  | 2
25 mm |  |  |  | 3
32 mm |  |  |  | 4
40 mm |  |  |  | 5
50 mm |  |  |  | 6
65 mm |  |  |  | 7 |  |  |  | 0 | [7 empty] | 0 |  | 0 |  | 0
80 mm |  |  |  | 8
100 mm |  |  |  | 9
125 mm |  |  |  | 10
150 mm |  |  |  | 11
200 mm |  |  |  | 12
250 mm |  |  |  | 13
300 mm |  |  |  | 14 |  |  |  | 0 | [7 empty] | 0 |  | 0 |  | 0
400 mm |  |  |  | 15
450 mm |  |  |  | 16
600 mm |  |  |  | 17
Y
T | [61 empty] | 1
1 outlet pipe : Ld1
1 outlet pipe : Ld1 | [7 empty] | 10 |  | Ld1 | [49 empty] | 1 outlet pipe : Ld1 | 1 outlet pipe : Ld1 | 1 outlet pipe : Ld1 | 1 outlet pipe : Ld1 | 1 outlet pipe : Ld1
2 of series outlet pipe : Ld1+Ld2 | [7 empty] | 0 |  | Ld2 | [7 empty] | 0 | [6 empty] | 0% | Q2 |  |  | 0% |  | 0 | in dia-2 | 0 | [26 empty] | 2 outlet pipe : Ld1+Ld2 | 0 |  | 2 outlet pipe : Ld1+Ld2 | 2 outlet pipe : Ld1+Ld2
3 of series outlet pipe : Ld1+Ld2+Ld3 | [7 empty] | 0 |  | Ld3 | [8 empty] | 0 | [5 empty] | 0% | Q3 |  |  | 0% |  | 0 | in dia-3 | 0 | [26 empty] | 3 outlet pipe : Ld1+Ld2+Ld3 | 0 |  | 3 outlet pipe : Ld1+Ld2+Ld3 | 3 outlet pipe : Ld1+Ld2+Ld3
Loop system at outlet pipe : Ld1+Ld2+Ld3 | [59 empty] | Loop system at outlet pipe | 0 |  | Loop system at outlet pipe | 3 outlet pipe : Ld1+Ld2+Ld3
Trial 1-loop/Branch 1, 3 pipe : Ld1+Ld2+Ld3 | [59 empty] | T1-loop pipe:Ld1+Ld2+Ld3 | 0 |  | T1-loop pipe:Ld1+Ld2+Ld3 | 3 outlet pipe : Ld1+Ld2+Ld3
Trial 2-loop/Branch 2, 3 pipe : Ld1+Ld2+Ld31 | [24 empty] | 0% | [34 empty] | T2-loop pipe:Ld1+Ld2+Ld31 | 0 |  | T2-loop pipe:Ld1+Ld2+Ld31 | 3 outlet pipe : Ld1+Ld2+Ld3
Trial 3-loop/Branch 3, 2 pipe : Ld1+Ld21 | [7 empty] | pipe1 | [8 empty] | pipe2 | pipe3 | [6 empty] | 0% | [34 empty] | T3-loop pipe:Ld1+Ld21 | 0 |  | T3-loop pipe:Ld1+Ld21 | 2 outlet pipe : Ld1+Ld2
[8 empty] | 10 | [8 empty] | 0 | 0
Note on Y15: Temperatur normal water : 20deg C-30deg C
Note on AR17: Discharge Head (Hd) : shower : 10mtr-20mtr kran biasa : 3mtr boiler : 60mtr-100mtr cuci mobil : 70mtr-100mtr
Note on G42: Pressure drop for : Y-Strainer, screen, flexible joint, storage tank, etc.
Note on AR42: Pressure drop for : PRV, motorized valve, storage tank, chiller, heater, flexible joint, etc.
Note on AU42: Pressure drop for : PRV, motorized valve, storage tank, chiller, heater, flexible joint,etc
Note on AX42: Pressure drop for : PRV, motorized valve, storage tank, chiller, heater, flexible joint,etc.
Note on G43: Pressure drop for : Y-Strainer, screen, flexible joint, storage tank, etc.

## Tot.Head (hidden)
[12 empty] | 0 | Concrete | [8 empty] | 102 |  | 153 |  | 229 | 304 |  |  |  | Coeefisient
| KALKULASI TOTAL HEAD, CHECK KAVITASI & DIA. PIPA |  |  |  | Input Data |  | Input Data |  | Input Data |  |  | 1 | Stainless steel | 10.9 | 17 | 23 | 29.3 | 35.7 | 48.4 | 61.1 | 72.9 | 98.3 | 123.7 | 148.3 | 199.1 | 223.3 | 300 | 400 | 450 | 600 | 139 | 146 | 165 | 155
[5 empty] | Pipa suction & Pipa-1 |  | Pipa-2 |  | Pipa-3 |  |  | 2 | Steel pipe sch. 40 | 15.8 | 21 | 26.6 | 35.1 | 40.9 | 52.5 | 62.7 | 77.9 | 102.3 | 128.2 | 154.1 | 202.7 | 254.5 | 303.3 | 400 | 450 | 600 | 130 | 142 | 146 | 146
| WILLIAM HAZEN METHODE |  | By : MA. Budiman | [8 empty] | 3 | Galv. Iron Medium | 16.1 | 21.7 | 27.3 | 36 | 41.9 | 53.1 | 68.9 | 80.9 | 105.3 | 129.9 | 155.3 | 200 | 250 | 300 | 400 | 450 | 600 | 109 | 129 | 140 | 125
| Keterangan |  |  | Satuan | Nilai | Q'ty | Nilai | Q'ty | Nilai | Q'ty |  | 4 | Copper type B | 10.9 | 17 | 23 | 29.3 | 35.7 | 48.4 | 61.1 | 72.9 | 98.3 | 123.7 | 148.3 | 199.1 | 223.3 | 300 | 400 | 450 | 600 | 139 | 146 | 165 | 155
[12 empty] | 5 | Ductile CI uncoated class K12 | 15 | 20 | 25 | 32 | 40 | 50 | 65 | 81.5 | 107.5 | 125 | 161.7 | 215.4 | 268 | 326.2 | 400 | 450 | 600 | 118 | 126 | 140 | 125
| PUMP SPECIFICATION |  | Duty Capacity | L/Sec | 1.3889 |  | 0 |  | 0 |  |  | 6 | Polyethilene Class-6 | 12.7 | 16.7 | 21.7 | 28.1 | 35.2 | 44 | 55.6 | 66.1 | 97.1 | 110 | 141.2 | 176.5 | 221 | 278 | 400 | 450 | 600 | 140 | 146 | 140 | 130
[5 empty] | Nom dia. | Inside dia. | [5 empty] | 7 | PVC Class 15 | 18.3 | 23 | 29 | 36.4 | 41.6 | 52.2 | 65 | 76.7 | 98.8 | 125 | 138.7 | 200 | 250 | 300 | 400 | 450 | 600 | 140 | 151 | 140 | 125
| SUCTION PIPE |  | Diameter pipa hisap | 25 | 25 | 27.3 | [5 empty] | Tabel-k Factor
|  |  | Tinggi Pipa Hisap (Hs) | Mtr | 1 | If (+) suction, Hs (-) | [7 empty] | Diameter (MM)
|  |  | Panjang Pipa Hisap (Ls) | Mtr | 5 | - | [5 empty] | No. | Description | 15 | 20 | 25 | 32 | 40 | 50 | 65 | 80 | 100 | 125 | 150 | 200 | 250 | 300 | 400 | 450 | 600
|  |  | Roughness Coeffisient (Max.-Min.) | 116 | 116 | Galv iron | [29 empty] | K value
|  |  | Ketebalan air (sistem 2 & 3) | Mtr | -4 | [6 empty] | 1 | Ball Valve | 0.08 | 0.08 | 0.07 | 0.07 | 0.06 | 0.06 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | [5 empty] | Suction |  | Pipa-1
|  | K value | Tee | Mtr | 1.38 | 0 | [5 empty] | 2 | Ball valve (15-40) Butterfly Valve | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.81 | 0.81 | 0.77 | 0.72 | 0.68 | 0.56 | 0.56 | 0.39 | 0.39 | 0.3 | 0.3 | [5 empty] | Tee
|  | (Tabel) | L Elbow 90o | Mtr | 0.69 | 1 | [5 empty] | 3 | Swing Chek Valve | 1.35 | 1.25 | 1.15 | 1.1 | 1.05 | 0.95 | 0.9 | 0.9 | 0.85 | 0.8 | 0.75 | 0.7 | 0.7 | 0.65 | 0.65 | 0.6 | 0.6 | [5 empty] | L Elbow 90o |  | 0.69
|  |  | Butterfly Valve | Mtr | 0.86 | 0 | [5 empty] | 4 | Elbow (90o) | 0.81 | 0.75 | 0.69 | 0.66 | 0.63 | 0.57 | 0.54 | 0.54 | 0.51 | 0.48 | 0.45 | 0.42 | 0.42 | 0.39 | 0.39 | 0.36 | 0.36 | [5 empty] | Butterfly Valve
|  |  | Check Valve | Mtr | 1.15 | 0 | [5 empty] | 5 | Tee | 1.62 | 1.5 | 1.38 | 1.32 | 1.26 | 1.14 | 1.08 | 1.08 | 1.02 | 0.96 | 0.9 | 0.84 | 0.84 | 0.78 | 0.78 | 0.72 | 0.72 | [5 empty] | Check Valve
|  |  | Foot valve | Mtr | 9.66 | 0 | 0 |  |  |  | 1 | 6 | Foot Valve | 11.34 | 10.5 | 9.66 | 9.24 | 8.82 | 7.98 | 7.58 | 7.58 | 7.14 | 6.72 | 6.3 | 5.88 | 5.88 | 5.46 | 5.46 | 5.04 | 5.04 | [5 empty] | Foot valve
|  |  | Ball Valve | Mtr | 0.07 | 1 | [29 empty] | Ball Valve |  | 0.07
[5 empty] | Nom dia. | Inside dia. | Nom dia. | Inside dia. | Nom dia. | Inside dia.
| DISCHARGE PIPE |  | Diameter pipa keluar | 32 | 32 | 36 | 0 | 0 | 0 | 0 |  | Tabel-Hv
10 |  |  | Panjang pipa keluar (Ld) | Mtr | 10 | - | 0 |  | 0 |  |  |  |  | tm (oC)
|  |  | Roughness Coeffisient (Max.-Min.) | 119 | 119 | Galv iron | 0 | #VALUE! | 0 | #VALUE! |  | No. | Description | 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 | 190
[36 empty] | Discharge |  | Pipa-1 |  | Pipa-2 | Pipa-3
|  | K value | Tee | Mtr | 1.32 | 0 | 1.32 | 0 | 1.32 | 0 |  |  | Hv (Meter) | 0 | 0.12515 | 0.23837 | 0.43258 | 0.75225 | 1.2582 | 2.0318 | 3.1783 | 4.8307 | 7.1512 | 10.3357 | 14.6135 | 20.2511 | 27.5533 | 36.8628 | 48.552 | 63.0462 | 80.784 | 102.2754 | 128.0202 |  |  | Tee
|  | (Tabel) | L Elbow 90o | Mtr | 0.66 | 2 | 0.66 | 1 | 0.66 | 1 | [25 empty] | L Elbow 90o |  | 0.66 |  | 0.66 | 0.66
|  |  | Butterfly valve | Mtr | 0.86 | 0 | 0.86 | 0 | 0.86 | 0 | [25 empty] | Butterfly valve
|  |  | Check Valve | Mtr | 1.1 | 1 | 1.1 | 0 | 1.1 | 0 | [25 empty] | Check Valve |  | 1.1 | [5 empty] | 1 outlet pipe : Ld1
|  |  | Ball Valve | Mtr | 0.07 | 1 | 0.07 | 0 | 0.07 | 0 |  |  | Hasil Iterasi |  | 0.37546 | 0.35159 | 0.43258 | 0.43258 | 0.24633 | -0.28917 | -1.4076 | -3.4313 | -6.7718 | -11.9554 | -19.6095 | -30.4868 | -45.4685 | -65.5421 | -91.7184 | -125.3784 | -167.5452 | -220.0956 | -283.8966 |  |  | Ball Valve |  | 0.07 | [5 empty] | 2 of series outlet pipe : Ld1+Ld2
|  |  | Temp. Air | oC | 30 |  | 0 | 0 | 0 | 0 | [33 empty] | 3 of series outlet pipe : Ld1+Ld2+Ld3
|  | Tabel-Hv | H Evaporation | Mtr | 0.43258 | - | [8 empty] | 0 | 0 | 0.43258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | Loop system at outlet pipe : Ld1+Ld2+Ld3
Trial 1-loop/Branch 1, 3 pipe : Ld1+Ld2+Ld3
|  |  | Tinggi geodetic (Hg) | Mtr | 10 | - | [7 empty] | tm (oC) 10: 0.43258 | [10 empty] | Trial 2-loop/Branch 2, 3 pipe : Ld1+Ld2+Ld31
|  |  | Discharge Head (Pressure kran) | Mtr | 5 | - | [5 empty] | 30 | oC (Temperatur Air) | [30 empty] | Trial 3-loop/Branch 3, 2 pipe : Ld1+Ld21
Suction
| HASIL PERHITUNGAN | [10 empty] | 1 | Stainless steel | FALSE | FALSE | 23 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [13 empty] | 1 outlet pipe : Ld1
|  |  |  | Unit | Suction | Discharge | Suction | Discharge | Suction | Discharge |  | 2 | Steel pipe sch. 40 | FALSE | FALSE | 26.6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [5 empty] | Suction | Discharge | [6 empty] | Discharge | Suction | Discharge | Suction | Discharge
|  |  | Pipe | Mtr | 1.6943 | 0.84007 |  | 0 |  | 0 |  | 3 | Galv. Iron Medium | FALSE | FALSE | 27.3 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [5 empty] | 1.6943 | 0.84007 |  |  |  |  | 0.0025415 | 0.0012601
| FRICTION LOSSES |  | Fitting | Mtr | 0.21853 | 0.23677 |  | 0 |  | 0 | 0.21853 | 4 | Copper type B | FALSE | FALSE | 23 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [5 empty] | #VALUE! | 0.23677 |  |  |  |  | 0.00032779 | 0.00035516
|  |  | Pressure drop equipment | Mtr | 0 | 0 |  | 0 |  | 0 |  | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | 25 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [5 empty] | 0 | 0
|  |  | Sub-Total | Mtr | 1.9128 | 1.0768 |  | 0 |  | 0 | 1.9128 | 6 | Polyethilene Class-6 | FALSE | FALSE | 21.7 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [5 empty] | #VALUE! | 1.0768 |  |  |  |  | 0.0028693 | 0.0016153 | 1.0768 |  | 0 |  | 0
|  |  | Total Suction + Discharge +SF | Mtr/SF | 0.44845 | 3.4381 | [5 empty] | 7 | PVC Class 15 | FALSE | FALSE | 29 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [6 empty] | #VALUE!
| Q & H POMPA |  | FLOW RATE (Q) | L/Sec | 1.3889 |  | 0 |  | 0 |  |  | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0 |  |  |  | Tanpa Suction | [8 empty] | 1.0768 |  | 0 |  | 0
|  |  | TOTAL HEAD (H) (Max & Min) | Mtr | 19.44 | #VALUE! | [5 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0 |  |  |  | 16.0768 | [8 empty] | 1.0768 |  | 0 |  | 0
[12 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | 27.3 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 27.3
|  |  | TYPE | Pump | [7 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0 |  |  |  | 19.44
| INPUT DATA |  | EFFISIENSI-PUMP | % | 7000% | [6 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
|  |  | NPSH req'd. | Mtr | 3 | [6 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[5 empty] | 0.37722 | kW | [5 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
| CEK KAVITASI, VELOCITY & DIA. PIPA | [9 empty] | 4.3546 | Discharge Pipa-1 |  | tm (oC) 170: 27.3; tm (oC) 180: Inside dia. Suction
| NPSH avail > NPSH req'd. |  | H Suction (Design) | Mtr | 1 | If (-) posisi (+) suct |  | 0 |  |  |  | 1 | Stainless steel | FALSE | FALSE | FALSE | 29.3 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| Tidak terjadi kavitasi |  | H Suction (Recommended) | Mtr | 4.3546 |  |  | 4.3546 |  |  | 4.3546 | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | 35.1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | [8 empty] | 5.3454
|  |  | Tw (minimum) | Mtr | 6.2674 | 1 | 0.3 | 0 |  |  | 1 | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | 36 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  | NPSH avail. (Calculation) | Mtr | 6.3546 | If NPSHa > NPSHr |  | 4.3546 |  |  | 1 | 4 | Copper type B | FALSE | FALSE | FALSE | 29.3 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  | NPSH req'd. (Pump Data) | Mtr | 3 | Tdk terjadi kavitasi | [5 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | 32 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  | NPSH avail. Sis 2 (Calculation) |  | 13.2674 |  |  | 4.3546 |  |  | 4.3546 | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | 28.1 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| Velocity recommended |  | Discharge : Pipe Diameter | MM | 32 | V recommended | 0 |  | 0 |  |  | 7 | PVC Class 15 | FALSE | FALSE | FALSE | 36.4 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 0.9 - 1.2 Mtr/Sec….. Ideal |  | Velocity | M/Sec | 1.3652 | 0.9 - 2 M/Sec | 0 |  | 0
| 1.5-2 Mtr/Sec……… Max. | [10 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
|  |  | Suction : Pipe Diameter | MM | 25 | V recommended | [5 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
|  |  | Velocity | M/Sec | 2.374 | 0.9 - 2 M/Sec | [5 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | 36 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 36
[12 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
|  |  | Tw (minimum) 2 | 4 | 1 | [6 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
|  |  | Tw (minimum) 3 |  | 0.3 | [6 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0 |  |  |  |  | K | K
|  | 2023-06-02 18:42 | 45079.779 |  | 0 | [6 empty] | Discharge Pipa-2 |  | tm (oC) 170: 36; tm (oC) 180: Inside dia discharge pipa-1 |  |  | q1 < 45 | 45<q1<180
|  |  | 406909 |  | Masa aktif sudah habis. Untuk perpanjang ketik di dalam kotak dg angka 1: | [6 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | d12 = | 1296 | d12/d22 = | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | d22 = | 0 | d22/d32 = | #DIV/0! | #DIV/0! | #DIV/0!
|  | 406909 | 406909 |  | 406939 | [6 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | d32 = | 0
|  | AL1 | 361829.221 |  | 361859.221 | [6 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | q1 = | 45 | -0.48717
|  |  | 406909 |  | -1000 | [6 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE |  | q2 = | 90 | 0.8509
[12 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Masa aktif sudah habis. Untuk aktivasi hubungi Hp diatas
|  |  | 406909 | [8 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
|  |  | -1000 | [8 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
Masa berlaku |  |  | 366000 | hari | 40909 | 2012-01-01 | Start masa berlaku |  |  |  |  | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
Juml hari/ tahun + perpanjangan |  |  | 366030 |  |  | 366000 | Juml hari masa berlaku |  |  |  |  | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
hari perpanjangan |  |  | 30 |  | 406909 | 406909 | Akhir masa berlaku |  |  |  |  | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
batas minus |  |  | -1000 | [8 empty] | Discharge Pipa-3 |  | tm (oC) 170: 0; tm (oC) 180: Inside dia discharge pipa-2
min pasw |  |  | -1000 | [8 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
pasw nama |  |  | AL1 | [8 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[31 empty] | 0 | Inside dia discharge pipa-3
[14 empty] | Suction |  |  |  | Dischsrge 1 |  |  |  |  | Dischsrge 2 |  |  |  | Dischsrge 3
[14 empty] | 25 | mm |  |  | 32 | mm |  |  |  | 32 | mm |  |  | 32 | mm
[11 empty] | 25 | 1 | Ball Valve | 0.07 | FALSE | FALSE | 32 | 0.07 | FALSE | FALSE | 32 | #VALUE! | 0.07 | FALSE | FALSE | 32 | 0.07 | FALSE | FALSE |  | 36 | Inside dia discharge
[11 empty] | 25 | 2 | Butterfly Valve | 0.86 | FALSE | FALSE | 32 | 0.86 | FALSE | FALSE | 32 |  | 0.86 | FALSE | FALSE | 32 | 0.86 | FALSE | FALSE
[11 empty] | 25 | 3 | Swing Chek Valve | 1.15 | FALSE | FALSE | 32 | 1.1 | FALSE | FALSE | 32 |  | 1.1 | FALSE | FALSE | 32 | 1.1 | FALSE | FALSE
[11 empty] | 25 | 4 | Elbow (90o) | 0.69 | FALSE | FALSE | 32 | 0.66 | FALSE | FALSE | 32 |  | 0.66 | FALSE | FALSE | 32 | 0.66 | FALSE | FALSE
[11 empty] | 25 | 5 | Tee | 1.38 | FALSE | FALSE | 32 | 1.32 | FALSE | FALSE | 32 |  | 1.32 | FALSE | FALSE | 32 | 1.32 | FALSE | FALSE
[11 empty] | 25 | 6 | Foot Valve | 9.66 | FALSE | FALSE | 32 | 9.24 | FALSE | FALSE | 32 |  | 9.24 | FALSE | FALSE | 32 | 9.24 | FALSE | FALSE
[12 empty] | HANZEN WILLIAM CONSTANT |  | 15 | 20 | 25 | 32 | 40 | 50 | 65 | 80 | 100 | 125 | 150 | 200 | 250 | 300 | 400 | 450 | 600
[12 empty] | 1 | Stainless steel | 139 | 140 | 141 | 142 | 143 | 144 | 144 | 145 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 139 | 146
[12 empty] | 2 | Steel pipe sch. 40 | 125 | 128 | 130 | 133 | 134 | 135 | 136 | 138 | 140 | 140 | 140 | 141 | 141 | 142 | 142 | 142 | 142 | 125 | 142
[12 empty] | 3 | Galv. Iron Medium | 111 | 114 | 116 | 119 | 120 | 122 | 125 | 126 | 127 | 129 | 129 | 129 | 129 | 129 | 129 | 129 | 129 | 111 | 129
[12 empty] | 4 | Copper type B | 139 | 140 | 141 | 142 | 143 | 144 | 144 | 145 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 139 | 146
[12 empty] | 5 | Ductile CI uncoated class K12 | 118 | 118 | 118 | 118 | 118 | 118 | 118 | 118 | 120 | 120 | 122 | 124 | 125 | 126 | 126 | 126 | 126 | 118 | 126
[12 empty] | 6 | Polyethilene Class-6 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 140 | 146
[12 empty] | 7 | PVC Class 15 | 140 | 141 | 142 | 145 | 145 | 145 | 145 | 149 | 149 | 149 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 140 | 151
Suction
[11 empty] | 3 | 1 | Stainless steel | FALSE | FALSE | 141 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 3 | 2 | Steel pipe sch. 40 | FALSE | FALSE | 130 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 3 | 3 | Galv. Iron Medium | FALSE | FALSE | 116 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 3 | 4 | Copper type B | FALSE | FALSE | 141 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 3 | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | 118 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 3 | 6 | Polyethilene Class-6 | FALSE | FALSE | 140 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 3 | 7 | PVC Class 15 | FALSE | FALSE | 142 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | 116 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 116
[12 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[31 empty] | 116 | Hanzen William constant (Suction)
Discharge Pipa-1
[11 empty] | 4 | 1 | Stainless steel | FALSE | FALSE | FALSE | 142 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | 133 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | 119 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 4 | Copper type B | FALSE | FALSE | FALSE | 142 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | 118 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | 140 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 7 | PVC Class 15 | FALSE | FALSE | FALSE | 145 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | 119 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 119
[12 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[31 empty] | 119 | Hanzen William constant (Discharge)
Discharge Pipa-2
[11 empty] | 4 | 1 | Stainless steel | FALSE | FALSE | FALSE | 142 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | 133 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | 119 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 4 | Copper type B | FALSE | FALSE | FALSE | 142 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | 118 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | 140 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 7 | PVC Class 15 | FALSE | FALSE | FALSE | 145 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[31 empty] | 0 | Hanzen William constant (Discharge)
Discharge Pipa-3
[11 empty] | 4 | 1 | Stainless steel | FALSE | FALSE | FALSE | 142 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | 133 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | 119 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 4 | Copper type B | FALSE | FALSE | FALSE | 142 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | 118 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | 140 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[11 empty] | 4 | 7 | PVC Class 15 | FALSE | FALSE | FALSE | 145 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
[12 empty] | 1 | Stainless steel | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 2 | Steel pipe sch. 40 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 3 | Galv. Iron Medium | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 4 | Copper type B | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 5 | Ductile CI uncoated class K12 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 6 | Polyethilene Class-6 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[12 empty] | 7 | PVC Class 15 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | 0
[31 empty] | 0 | Hanzen William constant (Discharge)
[13 empty] | Diameter pipa (mm) | tm (oC) 0: Diameter (MM)
[14 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
[12 empty] | No. | 0 | 15 | 20 | 25 | 32 | 40 | 50 | 65 | 80 | 100 | 125 | 150 | 200 | 250 | 300 | 400 | 450 | 600 | 6000
[14 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
[10 empty] | 25 | 3 | S | 25 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 32 | 4 | D1 | 32 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 32 | 4 | D2 | 32 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 32 | 4 | D3 | 32 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Inside dia. = F84+[Inside dia., row above]